## Sheet1
| # per rig (GNG) | # per rig (2AFC) | ~ price | cost (GNG) | cost (2AFC) | vendor | part # | link
arduino
arduino mega | 1 | 1 | 40.3 | 40.3 | 40.3 | Arduino | A000067 | https://store-usa.arduino.cc/products/arduino-mega-2560-rev3?selectedStore=us
arduino DUE | 1 | 1 | 40.3 | 40.3 | 40.3 | arduino | A000062 | https://store-usa.arduino.cc/products/arduino-due
electronics and other parts
capacitative lick detector | 1 | 3 | 6.5 | 6.5 | 19.5 | sparkfun | 14520 | https://www.sparkfun.com/products/14520
capacitor | 1 | 3 | 0.3 | 0.3 | 0.9 | sparkfun | 8375 | https://www.sparkfun.com/products/8375
power control kit | 1 | 3 | 5.95 | 5.95 | 17.85 | sparkfun | 12959 | https://www.sparkfun.com/products/12959
level converter | 1 | 1 | 3.5 | 3.5 | 3.5 | sparkfun | BOB-12009 | https://www.sparkfun.com/products/12009
diode rectifier | 1 | 3 | 0.25 | 0.25 | 0.75 | sparkfun | 14884 | https://www.sparkfun.com/products/14884
speakers | 2 | 2 | 2.45 | 4.9 | 4.9 | sparkfun | 9151 | https://www.sparkfun.com/products/9151
1/4 inch hub | 1 | 1 | 4.99 | 4.99 | 4.99 | sparkfun | 12488 | https://www.sparkfun.com/products/12488
LED panels | 3 | 3 | 6.95 | 20.85 | 20.85 | adafruit | 2973 | https://www.adafruit.com/product/2973
LED panel drivers | 3 | 3 | 5.95 | 17.85 | 17.85 | adafruit | 2946 | https://www.adafruit.com/product/2946
audio amp | 1 | 1 | 19.95 | 19.95 | 19.95 | adafruit | MAX9744 | https://www.adafruit.com/product/1752
tubing (if longer range is needed) | 1 | 1 | 86 | 86 | 86 | cole-parmer | EW-06419-04 | https://www.coleparmer.com/i/masterflex-microbore-transfer-tubing-tygon-nd-100-80-0-040-id-x-0-070-od-100-ft/0641904?searchterm=EW-06419-04
solenoid valve | 1 | 3 | 75.78 | 75.78 | 227.34 | reet corp. | 075P2NC12-02S | http://www.reetcorp.com/products-valves.html
1/4 inch shaft ~1.5'' long | 1 | 1 | 9.64 | 9.64 | 9.64 | McMaster | 8632T144 | https://www.mcmaster.com/8632T144/
1/4 bearings | 2 | 2 | 10.98 | 21.96 | 21.96 | McMaster | 4262T36 | https://www.mcmaster.com/4262T36/
1/4'' wheel lock shaft collar | 1 | 1 | 3.1 | 3.1 | 3.1 | McMaster | 9946K11 | https://www.mcmaster.com/9946K11/
12v power supply | 1 | 1 | 6.98 | 6.98 | 6.98 | amazon | generic | https://www.amazon.com/Adapter-SANSUN-AC100-240V-Transformers-Switching/dp/B01AZLA9XQ/ref=sr_1_3?keywords=12v+power+supply&qid=1646171112&sprefix=12v+%2Caps%2C119&sr=8-3
9V power supply | 1 | 1 | 9.99 | 9.99 | 9.99 | amazon | generic | https://www.amazon.com/DAddario-PW-CT-9V-Power-Adapter-Sleeve-Positive/dp/B00191WVF6/ref=sr_1_1?crid=QTWGCG0MFKZ2&keywords=9v+power+supply&qid=1646171117&sprefix=9v+power+supply%2Caps%2C117&sr=8-1
running wheel | 1 | 1 | 12.99 | 12.99 | 12.99 | amazon | generic | https://www.amazon.com/gp/product/B00ZB3S62K/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
plasti dip (wheel coating) | 1 | 1 | 7.99 | 7.99 | 7.99 | amazon | generic | https://www.amazon.com/Plasti-Dip-11252-6-Spray-Fluid_Ounces/dp/B00KUBKUQ8/ref=sxts_b2b_ccp_search_w_op?crid=2LEWEUGPT7U02&cv_ct_cx=plasti+dip&keywords=plasti+dip&pd_rd_i=B00KUBKUQ8&pd_rd_r=d7f1334d-e600-4610-8d47-7d4df261a850&pd_rd_w=Z2I6I&pd_rd_wg=YT3ET&pf_rd_p=5b4ffd46-5d67-49f6-8205-cc9b687c425b&pf_rd_r=GSMMNPXXRRV6XMZDB7VW&qid=1646176260&sprefix=plastidip%2Caps%2C115&sr=1-1-d27bdacb-ad14-3372-97fb-5f5070035007
3D arm | 1 | 1 | 31.35 | 31.35 | 31.35 | amazon | generic | https://www.amazon.com/gp/product/B07KPY6ZC3/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
IR webcam | 1 | 1 | 34.99 | 34.99 | 34.99 | amazon | generic | https://www.amazon.com/gp/product/B0829HZ3Q7/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
power strip (8x) | 1 | 1 | 17.97 | 17.97 | 17.97 | amazon | generic | https://www.amazon.com/Protector-Nuetsa-Extension-Outlets-Joules/dp/B09F2XPJ47/ref=sr_1_1?keywords=power+strip+8+outlet&qid=1646171828&s=electronics&sprefix=power+strip+8%2Celectronics%2C111&sr=1-1
PC (core i5, 8gb ram) | 1 | 1 | 500 | 500 | 500 | amazon | any | https://www.amazon.com/Dell-Inspiron-Compact-Tower-Desktop/dp/B09HHMZN4W/ref=sr_1_1?crid=1KSU66CMUJBFE&keywords=core+i5+desktop&qid=1646171918&s=electronics&sprefix=core+i5+desktop%2Celectronics%2C107&sr=1-1
small breadboards | 1 | 1 | 9.59 | 9.59 | 9.59 | amazon | generic | https://www.amazon.com/DEYUE-Solderless-Prototype-Breadboard-breadboard/dp/B07DMHVC3R/ref=sr_1_9?crid=JFJ3KP6CCHC7&keywords=breadboards&qid=1646171956&sprefix=breadboards%2Caps%2C118&sr=8-9
20awg wire | 1 | 1 | 16.38 | 16.38 | 16.38 | amazon | generic | https://www.amazon.com/gp/product/B083DNGSPV/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
LED goosneck lamp | 1 | 1 | 21.5 | 21.5 | 21.5 | amazon | generic | https://www.amazon.com/gp/product/B07L6T1N1K/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
spout tubing | 1 | 1 | 7.58 | 7.58 | 7.58 | amazon | generic | https://www.amazon.com/gp/product/B004WPQ59O/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
rotary servo | 1 | 2 | 20.99 | 20.99 | 41.98 | amazon | MG90S | https://www.amazon.com/gp/product/B07F7VJQL5/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
linear actuator (optional if not servo) | 1 | 2 | 90 | 90 | 180 | actuonix | L12-30-50-12-I | https://www.actuonix.com/Rod-Actuators-s/1924.htm
mechanical parts
90 degree thumbscrew holder (RA90) | 4 | 4 | 10.3 | 41.2 | 41.2 | Thorlabs | RA90 | https://www.thorlabs.com/thorproduct.cfm?partnumber=RA90
adjustable angle thumbscrew holder | 2 | 2 | 25.63 | 51.26 | 51.26 | Thorlabs | SWC | https://www.thorlabs.com/thorproduct.cfm?partnumber=SWC
1/2'' rod to screw (RA180) | 1 | 1 | 11.75 | 11.75 | 11.75 | Thorlabs | RA180 | https://www.thorlabs.com/thorproduct.cfm?partnumber=RA180
1/2' rod 1'' (TR1) | 1 | 1 | 5.12 | 5.12 | 5.12 | Thorlabs | TR1 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1266&pn=TR1#237
1/2' rod 2'' (TR2) | 1 | 1 | 5.62 | 5.62 | 5.62 | Thorlabs | TR2 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1266&pn=TR1#237
1/2' rod 4'' (TR4) | 3 | 3 | 6.35 | 19.05 | 19.05 | Thorlabs | TR4 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1266&pn=TR1#237
1/2' rod 6'' (TR6) | 4 | 4 | 7.7 | 30.8 | 30.8 | Thorlabs | TR6 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1266&pn=TR1#237
1/2' rod 8'' (TR8) | 1 | 1 | 9.23 | 9.23 | 9.23 | Thorlabs | TR8 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1266&pn=TR1#237
post holder base full (BA1) | 4 | 4 | 5.77 | 23.08 | 23.08 | Thorlabs | BA1 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=47&pn=BA1#2978
post holder base half (BA1S) | 2 | 2 | 5.36 | 10.72 | 10.72 | Thorlabs | BA1S | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=47&pn=BA1#2978
post holders 1 inch | 1 | 1 | 7.78 | 7.78 | 7.78 | Thorlabs | PH1 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1268&pn=PH1#238
post holders 2 inch | 2 | 2 | 8.52 | 17.04 | 17.04 | Thorlabs | PH2 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1268&pn=PH1#238
post holders 3 inch | 2 | 2 | 9.16 | 18.32 | 18.32 | Thorlabs | PH3 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1268&pn=PH1#238
mini series adapter | 2 | 2 | 5.55 | 11.1 | 11.1 | Thorlabs | MSA8 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1745&pn=MSA8#1438
90 degree bracket | 2 | 2 | 15.53 | 31.06 | 31.06 | Thorlabs | ER90B | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=6324&pn=ER90B#6332
cage assembly rod | 2 | 2 | 5.33 | 10.66 | 10.66 | Thorlabs | ER05 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=4125&pn=ER05#4143
3D stage | 1 | 1 | 336.08 | 336.08 | 336.08 | Thorlabs | DT12XYZ | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=2952&pn=DT12XYZ
breadboard 12/16 | 1 | 1 | 204.43 | 204.43 | 204.43 | Thorlabs | MB1218 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=159&pn=MB1218
machined / printed parts
LED panel holder | 1 | 1 |  |  |  | lab made: either 3d print or bend a piece of aluminium (also possible to carve from styrofoam
tripple spout holder | 0 | 1 |  |  |  | lab made: either 3d print or carve from styrofoam
servo-to-linear-actuator translator | 1 | 2 |  |  |  | lab made: 3D print
data acqusition
Nationl Instruments DAQ | 1 | 1 | 1897 | 1897 | 1897 | National instruments | USB-6218 | https://www.ni.com/en-us/shop/hardware/products/multifunction-io-device.html
enclosure (double rig) - costs approximate
1 3/8'' dovel for frame 12'' long | 8 | 8
1 3/8'' dovel for frame 24'' long | 6 | 6
1 3/8'' dovel for frame 18'' long | 6 | 6
1 3/8'' dovel 8ft cut to above sizes | 5 | 5 | 7.98 | 39.9 | 39.9 | home depot | generic | https://www.homedepot.com/p/Mendocino-Forest-Products-1-3-8-in-x-1-3-8-in-x-8-ft-B-and-Better-S4S-Redwood-Lumber-903116/100038906
1/2'' plywood 21x24'' for tops | 3
1/2'' plywood 14x11'' for doors | 4
1/2'' plywood 30x24'' for back | 1
1/2'' plywood 30x21'' for sides | 2
1/2'' plywood 4' x 8' cut to above size | 1 | 1 | 60 | 60 | 60 | home depot | generic | https://www.homedepot.com/p/Columbia-Forest-Products-1-2-in-x-4-ft-x-8-ft-PureBond-Birch-Plywood-833185/100020218?MERCH=REC-_-searchViewed-_-NA-_-100020218-_-N&
door hinges | 8 | 8 | 3.98 | 31.84 | 31.84 | amazon | generic | https://www.amazon.com/LIBERTY-H01915C-SN-2-Inch-Semi-Wrap-Overlay/dp/B005YVKMR6/ref=sr_1_6?crid=1UZLTQ5JMTTCY&keywords=1%2F2%E2%80%9D+Overlay+Partial+Wrap+Semi+Wrap+Self+Closing+Cabinet+Hinges&qid=1646174752&s=hi&sprefix=1%2F2+overlay+partial+wrap+semi+wrap+self+closing+cabinet+hinges%2Ctools%2C95&sr=1-6
door magnets (set of 4) | 2 | 2 | 5.98 | 11.96 | 11.96 | amazon | generic | https://www.amazon.com/JQK-Magnetic-Stainless-Thickness-Furniture/dp/B07B4TW3YY/ref=sxts_b2b_sx_reorder_v3_business?crid=2S6CMC7RVYJK7&cv_ct_cx=door+magnet&keywords=door+magnet&pd_rd_i=B07B4TW3YY&pd_rd_r=9e7c190f-158c-488a-a886-8c368726ac8e&pd_rd_w=EKVF9&pd_rd_wg=opaIB&pf_rd_p=f173f6ce-985e-493d-b730-0ddc8feb22e1&pf_rd_r=ZEZEBE1EBVM0JACHCRAT&qid=1646174832&s=hi&sprefix=door+magne%2Ctools%2C109&sr=1-1-722db4e4-77fc-4fb6-8cee-654ad16ce1d5
2'' wood screws (box) | 1 | 1 | 12.88 | 12.88 | 12.88 | amazon | generic | https://www.amazon.com/gp/product/B08MDXC1GG/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
0.5'' truss head wood screws (box) | 1 | 1 | 6.5 | 6.5 | 6.5 | amazon | generic | https://www.amazon.com/gp/product/B08545BSYB/ref=ppx_yo_dt_b_search_asin_title?ie=UTF8&psc=1
egg crate foam | 1 | 1 | 18.99 | 18.99 | 18.99 | amazon | generic | https://www.amazon.com/Polyurethane-Charcoal-Convoluted-Foam-Packing/dp/B01G61TJCG/ref=sr_1_1?crid=23RO2AYLOLUE8&keywords=egg+crate+foam&qid=1646176004&s=musical-instruments&sprefix=egg+crate+foam%2Cmi%2C101&sr=1-1
mass loaded vinyl | 1 | 2 | 59.99 | 59.99 | 119.98 | amazon | generic | https://www.amazon.com/TMS-Sound-Proofing-Padding-Wall/dp/B01EGX3XF0/ref=sxts_b2b_sx_reorder_v3_customer?cv_ct_cx=mass%2Bloaded%2Bvinyl&keywords=mass%2Bloaded%2Bvinyl&pd_rd_i=B008JHE1P6&pd_rd_r=681f4559-68ad-4d27-869e-ff6136f9ad59&pd_rd_w=5qHAU&pd_rd_wg=Vc3wQ&pf_rd_p=f173f6ce-985e-493d-b730-0ddc8feb22e1&pf_rd_r=ZYRJBY5AX722AGQ88G89&qid=1646175945&sprefix=mass%2Bloa%2Caps%2C117&sr=1-1-722db4e4-77fc-4fb6-8cee-654ad16ce1d5&th=1
|  |  | sum | 4133.78 | 4482.32